# COMPETENCY assessment – ca / Senior Medical Scientist Biochemistry

Description: To assure that Biochemistry SMSs are adequately trained and competent. Competency assessment is based upon a review of records following participation in SMS programme.

Objectives: On successful completion of this competency event the participant: - Will have complied with the Quality Management System in provision of a Biochemistry Service - Will have created a supportive and safe environment for staff - Implemented training and Competency Programmes for Staff - Will have Developed, Reviewed and Distributed relevant Documents - Will have Managed and maintained Equipment used in the relevant section of the Laboratory - Will have Managed Consumables - Will have Managed IQC - Will have Managed EQA - Will have promoted open communication and will have participated in Staff and Senior Meetings

| Task | CM* | RT** (Y/N) | Comment /records reviewed |
| --- | --- | --- | --- |
| QMS Participated in Audit(s) Managed Non Conformances Corrective Action Preventive Action | RR DO |  |  |
| Health and Safety Ensure safe environment in relevant area | RR DO |  | Eg Workstations Safe, Adequate precautions for hazardous reagents,PPE available and used Examples; |
| Personnel Training and Competency events carried out | RR DO |  | All applicable training and competencies including on-call and on-site Training Examples; |
| Document Preparation | RR DO |  | New Document. Review and/or revision Examples; |
| Manage Maintenance of Equipment | RR |  | e.g. Daily Maintenance forms reviewed, equipment maintenance recorded in Q Pulse |
| Managed Consumables | RR |  | Eg Orders Submitted, stock take performed, invoice reviewed |
| IQC | RR |  | Performed and monitored as described in procedure |
| EQA | RR |  | Submitted, returned, reviewed, signed off and discussed with staff (examples) |
| Communication attendance at Meetings | RR |  | Attended Staff Meetings (dates) |
| Involved in the verification of new equipment | DO/RR |  |  |
| *Competency Method: DO= Direct Observation Processes /Procedures, RR = Record Review **RT = Retraining (Yes /No) |  |  |  |

| Retraining required? | Yes: | No: |
| --- | --- | --- |
| If yes comment: |  |  |

| Overall competence result: (Place an ✓ in the appropriate box on the right) | Satisfactory: | ✓ |
| --- | --- | --- |
|  | Unsatisfactory: |  |

| Senior Medical scientist signature: | _________________________________________ | Date: |  |
| --- | --- | --- | --- |
| Reviewer signature: (Chief Medical Scientist) | _________________________________________ | Date: |  |