# training event – te /Document controller

Description: The purpose of the programme is to ensure that the trainee is equipped with the knowledge and skills necessary to practice as a competent Document Controller. Training provides participants with an understanding of the ISO 15189 standard requirements and then facilitates the trainee to develop the skills necessary to assist management in establishing, implementing and maintaining an effective document management system.

Objectives: On successful completion of this competency event the participant will be: - Aware of defined roles and responsibilities - Aware of the ISO 15189 standard and applicable INAB requirements in relation to document management - Understand key terms and definitions including document numbering, document review, document revision, document owner, author and approver - Able to prepare new documents using applicable templates - Competent to manage and monitor the Departmental Document register on Q-Pulse - Able to monitor the QMS metrics in relation to Document control and review monthly workload. - Able to advise management on quality trends and quality indicators in relation to document management - Understand the importance of participation in laboratory quality meetings - Aware of some common problems encountered and knows the appropriate action to take when there are any problems in the above activities

| Training Method |  | Training Materials |  |
| --- | --- | --- | --- |
| Methods used include those checked below: |  | Materials used include those checked below: |  |
|  | PPT presentation |  | Process flowchart or table |
|  | Computer-based |  | Operator’s manual /Inserts |
|  | Self study |  | Written procedures |
|  | Observe demonstration |  | Handouts |

| Relevant procedure | Filename |
| --- | --- |
| ISO15189:2012 Medical Laboratories - Requirements for quality and competence | EXT-CUH-PAT-30 |
| Document Control | PPG-CUH-PAT-1 |
| PPPG Template: | PPG-CUH-CUH-100 |
| Examination Procedure Template | PPG-CUH-PAT-42 |
| Equipment Template | PPG-CUH-PAT-43 |

| Activity /Task | Yes | No | NA | Comment |
| --- | --- | --- | --- | --- |
| - ISO 15189 standard and applicable INAB requirements |  |  |  |  |
| - Job role – Document Controller added to Q-Pulse |  |  |  | Competency review every 2 yr |
| - INAB assessment visits and importance of doc ctrol |  |  |  | Previous 117s |
| - Internal audit re document control |  |  |  | Participation in annual audit |
| - Management Review – review of document control |  |  |  |  |
| - Document preparation (format and content) |  |  |  |  |
| - Using the hospital template - format, style |  |  |  |  |
| - Layout (front page, header, table of contents) |  |  |  |  |
| - Format, style (size, type, numbering) |  |  |  | See handout - autoformat |
| - Document Identification |  |  |  |  |
| - Numbering convention (EXT/FOR/PPG/INS) |  |  |  |  |
| - Block of numbers assigned to each Dept |  |  |  |  |
| - Assigning document author, owner, approver |  |  |  |  |
| - ISO requirements for examination procedures |  |  |  | Section 5.5.3 |
| - Creating a new document |  |  |  | Template |
| - Creating a new document based on existing template |  |  |  | Save to LabShare |
| - Document Control |  |  |  | PPG-CUH-PAT-1 |
| - Viewing Departmental Document register |  |  |  |  |
| - Document folders within Department |  |  |  |  |
| - Creating search folders |  |  |  |  |
| - Raising and responding to change requests |  |  |  | Timely, major /minor |
| - Reviewing documents (within 1 month of review date) |  |  |  | Cross-dept document review |
| - Review of documents with 1 yr default |  |  |  | External docs, H&S, Q. Manual |
| - Moving an existing document to the draft register |  |  |  |  |
| - Moving a new document to the draft register |  |  |  |  |
| - Notifying approvers, approver response |  |  |  |  |
| - Moving a document from draft to active register |  |  |  |  |
| - Properties: Hardcopy location |  |  |  |  |
| - Properties: Related documents |  |  |  | Related forms, instructions |
| - Properties: Related Dept |  |  |  |  |
| - Document distribution – applying names /templates |  |  |  |  |
| - Document distribution – distributing /acknowledging |  |  |  |  |
| - Paper copies (blue paper, forms, booklets) |  |  |  | Remove redundant copies |
| - Document archive (obsolete /inactive) |  |  |  |  |
| - Document deactivation and reactivation |  |  |  | Change request to Susan |
| - Communication |  |  |  |  |
| - Departmental quality meetings |  |  |  |  |
| - Org. wide communication (QCM, AQIT /Mgt Review) |  |  |  |  |
| - Workload |  |  |  |  |
| - Quality Indicator monthly metrics |  |  |  |  |
| - Tracking document workload |  |  |  | LabShare /Gen /Qual Indicators |

| I have received and understood the QMS training programme: |  |  |  |  |
| --- | --- | --- | --- | --- |

| Trainee signature: | Niamh Bouse |  | Date: |  |
| --- | --- | --- | --- | --- |
| Trainer signature: | Ciara O’Connor |  | Date: |  |