# Training event – TE/Faecal Calprotectin

| Description: The trainee has read, understands and signed off the current revision of PPG-CUH-PAT-1420 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Objectives: At the conclusion of training, the participant will be able to: - Area of cold-room where reagents, calibrator, QC and CALEX Cap are stored. - Running IQC and Checking results FOR-CUH-PAT-158 - Addition of FCal reagent to reagent list (for analysis Tues and Friday) - The procedure for EQA samples. - Authorisation of results. |  |  |  |  |  |  |  |
| Trainer: |  |  | Scheduled Date: |  |  | Completed Date: |  |

|  | Trainee Signature | Date |  |  | Trainee Signature | Date |
| --- | --- | --- | --- | --- | --- | --- |
|  | Surname, Forename |  |  |  | Surname, Forename |  |