# Training event – TE/IDS-i10

| Description: - The trainee has read, understands and signed off the current revision of the documents associated with this area. Training will include a review of SOPs and task based training for tests run on the IDS-i10 analyser. Documents include PPG-CUH-PAT-265, IDS i10 User Manual EXT-CUH-PAT-4038, IDS i10 Application Training Guide EXT-CUH-PAT-4039 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Objectives: At the conclusion of training, the participant will be able to: - Work on the IDS-i10 analyser - Perform tasks a and b under supervision of the Senior Medical Scientist prior to competency assessment. - a. Routine Maintenance of the IDS-i10 analyser including calibration, Check/resolve error messages, QC and Process samples. b. Authorise patient results. |  |  |  |  |  |  |  |
| Trainer: |  |  | Scheduled Date: |  |  | Completed Date: |  |

| 1. | Trainee Signature | Date |
| --- | --- | --- |