# Training event – TE/clinical chemistry On-Call

| Description: The trainee has read, understands and signed off the current revision of the documents associated with this area. Training will include a review of SOPs and task based training for out of hour’s service in Biochemistry as per PPG-CUH-PAT-268. |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Objectives: At the conclusion of training, the participant will be able to perform the duties of Person 1 on-call and Person 2 on-call as per below: Person 1 on-call duties - Work in Clinical Chemistry area out of hours. Person 2 on-call duties - Work in Clinical Chemistry area out of hours. - Perform second daily AU maintenance, reagents, Cals and QCs post 8pm. - Perform DxI Tasks: run QC on ALL DxIs to be read by 8am staff. A review of training and competency records for all tests performed out of hours in the Clinical Biochemistry Department will be performed by the Chief Medical Scientist. |  |  |  |  |  |  |  |
| Trainer: |  |  | Scheduled Date: |  |  | Completed Date: |  |

|  | Trainee Signature | Date |  |
| --- | --- | --- | --- |